## Group 31 LiFePO4 Batteries
Brand | Model | Website | Ah | Price ($) | Cost/Ah ($) | Warranty (Years) | Bluetooth | Self Heating | IP Rating | Notes | Will Prowse Review | Max Charge (A) / C-Rate | Max Discharge (A) / C-Rate / Peak | Location | 6-Battery Cost | 6-Batt Savings | 6-Batt Total Ah
Power Queen | 12V 100Ah Group 31 | ipowerqueen.com | 100 | 200 | 2 | 5 | No | No | IP65 | Budget tier. Sold direct and Amazon. | None found (forum reports of grade B cell issues) | Not verified | Not verified | Shenzhen, China | 1200 | None confirmed | 600
Redodo | 12V 165Ah Group 31 BT | redodopower.com | 165 | 430 | 2.6061 | 5 | Yes | No | IP65 | Highest capacity at lowest cost/Ah. UL 1973 certified. | 165Ah teardown (June 2025). Company responded. Search: Will Prowse Redodo 165Ah teardown | 165A max (1C), 33A recommended | 165A cont (1C) / BMS trips ~212A, auto-recovery 30s | Shenzhen, China | 2280 | 300 | 990
Redodo | 12V 140Ah Group 31 BT | redodopower.com | 140 | 350 | 2.5 | 5 | Yes | No | IP65 | Mid capacity option. 150A BMS. | 165Ah teardown (June 2025). Company responded. Search: Will Prowse Redodo 165Ah teardown | 150A max (1C) | 150A cont (1C) / peak not published | Shenzhen, China | 2100 | None confirmed | 840
LiTime | 12V 165Ah Group 31 BT | litime.com | 165 | 430 | 2.6061 | 5 | Yes | No | IP65 | 165A BMS. 4000+ cycles at 100% DoD. AIG product liability coverage. | UL1973 certification investigation. youtube.com/watch?v=9NtHyCpsOT8 | 165A max (1C) | 165A cont (1C) / 825A peak 1s | Shenzhen, China | 2580 | None confirmed | 990
Enjoybot | 12V 150Ah Group 31 BT | enjoybot.com | 150 | 346 | 2.3067 | 10 | Yes | Yes | IP65 | Only budget brand with 10 yr warranty and self heating. | None found | 150A max (1C) | 150A cont (1C) / 500A peak 3-5s | Shenzhen, China | 2076 | 324 | 900
Redodo | 12V 100Ah Group 31 BT | redodopower.com | 100 | 290 | 2.9 | 5 | Yes | No | IP65 | Entry level Redodo Group 31. | 165Ah teardown (June 2025). Company responded. Search: Will Prowse Redodo 165Ah teardown | 100A max (1C) | 100A cont (1C) / peak not published | Shenzhen, China | 1740 | None confirmed | 600
LiTime | 12V 100Ah Group 31 Classic | litime.com | 100 | 280 | 2.8 | 5 | No | No | IP65 | No Bluetooth. Basic BMS. | UL1973 certification investigation. youtube.com/watch?v=9NtHyCpsOT8 | 100A max (1C) | 100A cont (1C) / peak not published | Shenzhen, China | 1680 | None confirmed | 600
Ohmmu | Adventure Series Gen 5 180Ah Grp 31 | ohmmu.com | 180 | 999 | 5.55 | 10 | Yes | Yes | IP65 | Gen 5. 10 yr warranty (4 yr full replacement). 6000 cycles at 80% DoD. 38 lbs. US based support. | Reviewed Ohmmu Tesla replacement. Group 31 not specifically reviewed. | 100A max (0.56C), 50A recommended continuous | 200A cont (1.11C) / no peak published | Tempe, AZ | 5155 | 839 | 1080
Battle Born | BB10012 12V 100Ah Group 31 | battlebornbatteries.com | 100 | 799 | 7.99 | 10 | No | No | IP65 | Sale price ($949 MSRP). Assembled in USA. ETL listed to UL 2054/62133. IP65. C1D2 certified. Dragonfly Energy. | CRITICAL. Multiple videos on fire/terminal design flaw. Dragonfly sued Prowse June 2026. youtube.com/watch?v=5KCkl01uN5Q (9yr test) ¦ youtube.com/watch?v=_MOol0_DuU4 (fire test) | 50A max (0.5C) | 100A cont (1C) / 200A peak 30s | Reno, NV | 4794 | None confirmed | 600
RELiON | RB100 12V 100Ah Group 31 | relionbattery.com | 100 | 900 | 9 | 10 | No | No | IP67 | Also RB100-HP (dual purpose, 800A peak) and RB100-LT (cold weather). CE/UKCA, UN38.3, UL1642/IEC62133 (cells). Engineered in USA. | None found | 100A max (1C), 50A recommended | 100A cont (1C) / 200A peak 7.5s (RB100) / 800A peak 2s (RB100-HP) | Menomonee Falls, WI | 5400 | None confirmed | 600
Expion360 | VPR4Ever Classic 100Ah Grp 31 | expion360.com | 100 | 899 | 8.99 | 12 | No | No | N/A | 12 yr warranty (8 full + 4 prorated). UL 1973. Designed in Oregon. | None found | Not verified | Not verified | Redmond, OR | 5394 | None confirmed | 600
Victron | Smart LiFePO4 12.8V/100Ah | victronenergy.com | 100 | 900 | 9 | 5 | Yes | No | IP55 | Requires external BMS. NG model is newer, higher price, IP65. System price higher. | None found (reviews Victron chargers/inverters, not battery teardowns) | Not verified | Not verified | Almere, Netherlands | 5400 | None confirmed | 600
Dakota Lithium | DL+ 12V 280Ah Group 31 Dual Purpose | dakotalithium.com | 280 | 1599 | 5.7107 | 11 | No | Yes | IP65 | OVERSIZED: 14.6x7.7x10.75 in (std G31 is 13x6.8x8.5). Dual purpose 1,000 CCA. Even-Heat. Charger included. Dragonfly Energy. | None found | Not verified | Not verified | Reno, NV (Dragonfly Energy) | 9594 | None confirmed | 1680
Dakota Lithium | DL+ 12V 320Ah Group 31 Heated Dual Purpose | dakotalithium.com | 320 | 2299 | 7.1844 | 11 | No | Yes | IP65 | OVERSIZED: 15x7.2x10 in (std G31 is 13x6.8x8.5). Dual purpose 1,000 CCA. Even-Heat. CAN Bus. Dragonfly Energy. | None found | Not verified | Not verified | Reno, NV (Dragonfly Energy) | 13794 | None confirmed | 1920
Epoch | 12V 300Ah Essentials Group 31 | epochbatteries.com | 300 | 1249 | 4.1633 | 11 | Yes | Yes | IP54 | OVERSIZED: 13.75x7.63x10 in. Veteran owned, Marietta GA. NMEA/ABYC/NMMA certified. 200A continuous. 4000+ cycles. | Bricked battery follow-up. youtube.com/watch?v=DrWesqx9u-I | Not verified | Not verified | Marietta, GA | 7494 | None confirmed | 1800
Epoch | 12V 172Ah Dual Purpose Group 31 | epochbatteries.com | 172 | 899 | 5.2267 | 11 | Yes | Yes | IP54 | Pre-order (ETA Aug 25 2026). Cranking + deep cycle. NMEA/ABYC/NMMA certified. Verify dimensions before purchase. | Bricked battery follow-up. youtube.com/watch?v=DrWesqx9u-I | Not verified | Not verified | Marietta, GA | 5394 | None confirmed | 1032
Epoch | 12V 314Ah ECO Group 31 | epochbatteries.com | 314 | 1249 | 3.9777 | 11 | No | No | IP54 | OVERSIZED: 15.5x7.63x10.5 in. No heating, no Bluetooth. Budget high capacity option. | Bricked battery follow-up. youtube.com/watch?v=DrWesqx9u-I | Not verified | Not verified | Marietta, GA | 7494 | None confirmed | 1884
Canbat | CLI150-12 12V 150Ah Group 31 | canbat.com | 150 | 840 | 5.6 | 10 | Optional | No | N/A | Canadian company. UL 1642 cells. 35 lbs. Free shipping CA and US. Heated version (CLI150-12LT) also available. Dealer specs show 19 in long; verify dimensions before purchase. | None found | Not verified | Not verified | Toronto, Canada | 5040 | None confirmed | 900
KEY: | Green = Best overall pick |  |  | Yellow = Best budget pick |  |  | Red = Will NOT fit existing G31 battery boxes